## Sheet1
Asset Type | Manufacture | Assembly Number (Description) | Hutch | Current Location? | HE Location | Z Location (LCLS) | Asset Model Name | ServiceNow ID | Kitting BOM Link | Kitting % Complete | Assembly Traveler Link | Assembly Folder Link | Reuse
Scatter Slit | JJ X-Ray | DSG-000047614 | XPP |  | H1.2 | 778.766 | SL3L0 | [5 empty] | Y
Scatter Slit | JJ X-Ray | DSG-000047614 | XPP |  | H1.3 | 787.484 | SL2L2 |  |  | Created box for controls |  |  | Y
Power Slits (Adjustable Aperture) | JJ X-Ray | TBD | XPP |  |  | 784.397 | SL1L2
Intensity Position Monitor (IPM) |  | DSG-000018873 | XPP |  | FEE | 753.353 | EM3L0 | LDVC0003994 | DSG-000018873 IPM BOM_2.xlsx | 84.91% | LCLSII-HE-1.4-PP-0744.docx |  | Y
Intensity Position Monitor (IPM) |  | DSG-000018873 | XPP |  | H1.3 | 786.823 | EM1L2 | LDVC0003995 | EM1L2 Kitting BOM.xlsx | 84.91% |  |  | Y
Intensity Position Monitor (IPM) |  | DSG-000018873 | XPP |  | H1.3 | 799.097 | EM2L2 | LDVC0003996 | EM2L2 Kitting BOM.xlsx | 84.91% |  |  | Y
Power Profile Monitor (PPM) |  | DSG-000037561 | XPP |  |  |  | IM5L0 | LDVC0003997 | https://slac.sharepoint.com/:x:/r/sites/lcls/lcls-2-he/exp/shared_docs/Beamline%20Systems/.07.Assy+Test/BOMs%20for%20Kitting/DSG-000037561%20PPM%20BOM_2.xlsx?d=w63c9e82cabee4291a30428f325246377&csf=1&web=1&e=ShwAj3 | 81.67% | LCLSII-HE-1.4-PP-0708.docx
Power Profile Monitor (PPM) |  | DSG-000037561 | XPP |  |  |  | IM2L2 | LDVC0003998 | IM2L2 Kitting BOM.xlsx | 51.67%
Profile Monitor |  | DSG-000046756 | XPP |  |  |  | IM1L2 | LDVC0003999 | DSG-000046756 PPM BOM_2.xlsx | 62.16% | LCLSII-HE-1.4-PP-0754.docx
Solid Attenuator | JJ X-Ray | REF-000312583 | XPP |  | H1.3 |  | AT1L2
Transfocator | JJ X-Ray | TBD | XPP |  |  |  | RL1L2
Arrival Time Monitor |  | DSG-000035322 | XPP |  | H1.3 |  | TM1L2 | LDVC0004000 | DSG-000035322 ATM BOM_2.xlsx | 55.38% | LCLSII-HE-1.4-PP-0745.docx |  | Y
Wavefront Sensor (WFS) |  | DSG-000043770 | XPP |  |  |  | PF2L2 | LDVC0004001 | PF2L2 Kitting BOM.xlsx | 70% | LCLSII-HE-1.4-PP-0743.docx
Grating Beam Splitter (GBS) |  | DSG-000044558 | XPP |  |  |  | PF2L0 | LDVC0004002 | DSG-000044558 GBS BOM_2.xlsx | 63.16% | LCLSII-HE-1.4-PP-0749.docx
Exit Window |  | DSG-000039392 | XPP |  |  |  | PF1L2 | LDVC0004003 |  |  | LCLSII-HE-1.4-PP-1178.docx
Photon Terminator |  | DSG-000042315 | XPP |  |  |  | SF1L2 | LDVC0004004 | DSG-000042315 Photon Term BOM_2.xlsx | 36.36% | LCLSII-HE-1.4-PP-1179.docx
Reference Laser |  | DSG-000076546 | XPP |  | H1.2 |  | AL1L0 | LDVC0004005 | DSG-000018114 Ref Las BOM_2.xlsx | 68.09% | LCLSII-HE-1.4-PP-0707.docx |  | Y
Pulse Picker |  | DSG-000040991 | XPP | B645 | H1.3 | 786.032 | SH1L2 | LDVC0004066 |  |  | LCLSII-HE-1.4-PP-0914 | SH1L2 - LDVC# - #### | Y
Collimator |  | TBD | XPP |  |  |  | PC3L0
BTM |  | TBD | XPP |  |  |  | BT4L0
Collimator |  | TBD | XPP |  |  |  | PC4L0
BTM |  | TBD | XPP |  |  |  | BT5L0
Collimator |  | TBD | XPP |  |  |  | PC5L0
BTM |  | TBD | XPP |  |  |  | BT6L0
Stopper |  | DSG-000050044 | XPP |  |  |  | ST1L0
Scatter Slit | JJ X-Ray | DSG-000047614 | MFX |  | H4.5 |  | SL1L5 | [5 empty] | Y | XES_BL_SS_7330 | RFI: QTY 1 - MFX Scatter Slits
Intensity Position Monitor (IPM) |  | DSG-000025642 | MFX |  | XRT - A |  | EM5L0 | [5 empty] | Y |  | RFI: QTY 3 (XRT 1) - MFX Intensity Monitors
Intensity Position Monitor (IPM) |  | DSG-000025642 | MFX |  | XRT - C |  | EM1L5 | [5 empty] | Y |  | RFI: QTY 3 (XRT 1) - MFX Intensity Monitors
Intensity Position Monitor (IPM) |  | DSG-000025642 | MFX |  | XRT - Alcove |  | EM2L5 | [5 empty] | Y |  | RFI: QTY 3 (XRT 1) - MFX Intensity Monitors
Power Profile Monitor (PPM) |  | DSG-000037561 | MFX |  |  |  | IM1L5
Power Profile Monitor (PPM) |  | DSG-000037561 | MFX |  |  |  | IM2L5
Power Profile Monitor (PPM) |  | DSG-000037561 | MFX |  |  |  | IM3L5
Power Profile Monitor (PPM) |  | DSG-000037561 | MFX |  |  |  | IM4L5
Solid Attenuator | JJ X-Ray | TBD | MFX |  |  |  | AT2L5
Arrival Time Monitor |  | DSG-000034755 | MFX |  | H4.5 |  | TM1L5 | [5 empty] | Y |  | RFI: QTY 1 - MFX Arrival Time Monitors
Wavefront Sensor (WFS) |  | DSG-000043770 | MFX |  |  |  | PF3L5
Exit Window |  | DSG-000039388 | MFX |  |  |  | PF1L5
Laser In-Coupling (LIC) |  | LCL5004-009684 | MFX |  |  |  | LI1L5
Photon Terminator |  | DSG-000042315 | MFX |  |  |  | SF1L5
Reference Laser |  | DSG-000018114 | MFX |  | H4.5 |  | AL1L5 | [5 empty] | Y |  | RFI: QTY 1 - MFX Reference Laser
Collimator/BTM |  | TBD | MFX
Collimator/BTM |  | TBD | MFX
Collimator/BTM |  | TBD | MFX
Stopper |  | DSG-000050044 | MFX |  |  |  | ST2L0
Scatter Slit | JJ X-Ray | DSG-000047614 | CXI |  | H5 |  | SL5L0 | [5 empty] | Y | XES_BL_SS_7430 | RFI: QTY 3 - CXI Scatter Slits
Scatter Slit | JJ X-Ray | DSG-000047614 | CXI |  | H5 |  | SL6L0 | [5 empty] | Y | XES_BL_SS_7430 | RFI: QTY 3 - CXI Scatter Slits
Power Slits (Adjustable Aperture) | JJ X-Ray | TBD | CXI |  |  |  | SL4L0
Intensity Position Monitor (IPM) |  | DSG-000018873 | CXI |  | XRT - C3 |  | EM6L0 | [5 empty] | Y |  | RFI: QTY 3 (XRT 1) - CXI Intensity Monitors
Intensity Position Monitor (IPM) |  | DSG-000018873 | CXI |  | H5 |  | EM7L0 | [5 empty] | Y |  | RFI: QTY 3 (XRT 1) - CXI Intensity Monitors
Intensity Position Monitor (IPM) |  | DSG-000018873 | CXI |  | H5 |  | EM8L0 | [5 empty] | Y |  | RFI: QTY 3 (XRT 1) - CXI Intensity Monitors
Power Profile Monitor (PPM) |  | DSG-000037561 | CXI |  |  |  | IM9L0
Power Profile Monitor (PPM) |  | DSG-000037561 | CXI |  |  |  | IM10L0
Power Profile Monitor (PPM) |  | DSG-000037561 | CXI |  |  |  | IM11L0
Power Profile Monitor (PPM) |  | DSG-000037561 | CXI |  |  |  | IM12L0
Solid Attenuator | JJ X-Ray | TBD | CXI |  |  |  | AT3L0
Arrival Time Monitor |  | DSG-000035322 | CXI |  | H5 |  | TM1L0 | [5 empty] | Y |  | RFI: QTY 1 - CXI Arrival Time Monitors
Wavefront Sensor (WFS) |  | DSG-000043770 | CXI |  |  |  | PF3L0
Wavefront Sensor (WFS) |  | DSG-000043770 | CXI |  |  |  | PF4L0
Exit Window |  | DSG-000057740 | CXI
Laser In-Coupling (LIC) |  | LCL5004-006876 | CXI
Photon Terminator |  | DSG-000042315 | CXI |  |  |  | XX2L0
Reference Laser |  | DSG-000018114 | CXI |  | H5 |  | RL1L0? | [5 empty] | Y |  | RFI: QTY 1 - CXI Reference Laser
Collimator/BTM |  | TBD | CXI
Collimator/BTM |  | TBD | CXI
Collimator/BTM |  | TBD | CXI
Collimator/BTM |  | TBD | CXI
Stopper |  | DSG-000050044 | CXI |  |  |  | ST2L0
Stopper |  | DSG-000050044 | CXI
Scatter Slit | JJ X-Ray | DSG-000047614 | DXS |  | XRT - Alcove |  | SL2L3 | [5 empty] | Y |  | RFI: QTY 2 (XRT 1) - DXS Scatter Slits
Scatter Slit | JJ X-Ray | DSG-000047614 | DXS |  | H4 |  | SL3L3 | [5 empty] | Y |  | RFI: QTY 2 (XRT 1) - DXS Scatter Slits
Intensity Position Monitor (IPM) |  | DSG-000018873 | DXS |  | XRT - B |  | EM1L3 | [5 empty] | Y |  | RFI: QTY 6 (XRT 5) - DXS Intensity Monitors
Intensity Position Monitor (IPM) |  | DSG-000018873 | DXS |  | XRT - B |  | EM2L3 | [5 empty] | Y |  | RFI: QTY 6 (XRT 5) - DXS Intensity Monitors
Intensity Position Monitor (IPM) |  | DSG-000018873 | DXS |  | XRT - C |  | EM5L3 | [5 empty] | Y |  | RFI: QTY 6 (XRT 5) - DXS Intensity Monitors
Intensity Position Monitor (IPM) |  | DSG-000018873 | DXS |  | H4 |  | EM7L3 | [5 empty] | Y |  | RFI: QTY 6 (XRT 5) - DXS Intensity Monitors
Intensity Position Monitor (IPM) |  | DSG-000025642 | DXS | [9 empty] | Y |  | RFI: QTY 6 (XRT 5) - DXS Intensity Monitors
Power Profile Monitor (PPM) |  | DSG-000037561 | DXS |  |  | XRT Sec B | IM2L3
Power Profile Monitor (PPM) |  | DSG-000037561 | DXS |  |  | XRT Sec B | IM3L3
Power Profile Monitor (PPM) |  | DSG-000037561 | DXS |  |  | XRT Sec B | IM4L3
Power Profile Monitor (PPM) |  | DSG-000037561 | DXS |  |  | XRT Sec C | IM5L3
Power Profile Monitor (PPM) |  | DSG-000037561 | DXS |  |  | XRT Sec C | IM9L3
Power Profile Monitor (PPM) |  | DSG-000037561 | DXS |  |  | Hutch 4 | IM11L3
Power Profile Monitor (PPM) |  | DSG-000037561 | DXS
Solid Attenuator | JJ X-Ray | TBD | DXS |  |  |  | AT1L3
Transfocator | JJ X-Ray | TBD | DXS |  |  |  | RL1L3
Arrival Time Monitor |  | DSG-000035322 | DXS |  | H4 |  | TM1L3 | [5 empty] | Y |  | RFI: QTY 1 - DXS Arrival Time Monitors
Wavefront Sensor (WFS) |  | DSG-000043770 | DXS |  |  |  | PF1L3
Wavefront Sensor (WFS) |  | DSG-000043770 | DXS |  |  |  | PF2L3
Laser In-Coupling (LIC) |  | LCL5004-006876 | DXS |  |  |  | LI1L3
Photon Terminator |  | DSG-000042315 | DXS |  |  |  | SF1L3
Reference Laser |  | DSG-000018114 | DXS |  | XRT - Alcove |  | AL1L3 | [5 empty] | Y |  | RFI: QTY 1 (XRT 1) - DXS Reference Laser
Collimator |  | TBD | DXS |  |  |  | PC2L3
BTM |  | TBD | DXS |  |  |  | BT2L3
Collimator |  | TBD | DXS |  |  |  | PC3L3
BTM |  | TBD | DXS |  |  |  | BT3L3
Collimator |  | TBD | DXS |  |  |  | PC4L3
BTM |  | TBD | DXS |  |  |  | BT4L3
Collimator |  | TBD | DXS |  |  |  | PC5L3
BTM |  | TBD | DXS |  |  |  | BT5L3
Collimator |  | TBD | DXS |  |  |  | PC6L3
BTM |  | TBD | DXS |  |  |  | BT6L3
Collimator |  | TBD | DXS
BTM |  | TBD | DXS
Stopper |  | DSG-000050044 | DXS |  |  |  | ST1L3

## Sheet2
XPP | https://docs.google.com/spreadsheets/d/1CKV4rfqDN80BKxcqjdJ4aE2NhtEh9cWEG9G4Ckp4-xw/edit?usp=sharing
MFX | https://docs.google.com/spreadsheets/d/1Z4Q5_Cg_4zBptYuorvB3wyh-u7IK-KlZef0k85W6nWw/edit?usp=sharing
CXI | CXI hardware list.xlsx
DXS | Functional Layout.xlsx

## Sheet3
Asset Model Name | ServiceNow ID | Kitting BOM | Assembly Traveler | Traveler Last 4 | Folder | Folder Name | Added Related URLs
EM3L0 | LDVC0003994 | EM3L0 Kitting BOM | EM3L0 Assembly Traveler | 0744 | EM3L0 Folder | EM3L0 - LDVC0003994 - 0744
EM1L2 | LDVC0003995 | EM1L2 Kitting BOM | EM1L2 Assembly Traveler |  | EM1L2 Folder | EM1L2 - LDVC0003995 -
EM2L2 | LDVC0003996 | EM2L2 Kitting BOM | EM2L2 Assembly Traveler |  | EM2L2 Folder | EM2L2 - LDVC0003996 -
IM5L0 | LDVC0003997 | IM5L0 Kitting BOM | IM5L0 Assembly Traveler | 0708 | IM5L0 Folder | IM5L0 - LDVC0003997 - 0708
IM2L2 | LDVC0003998 | IM2L2 Kitting BOM | IM2L2 Assembly Traveler | 1327 | IM2L2 Folder | IM2L2 - LDVC0003998 - 1327
IM1L2 | LDVC0003999 | IM1L2 Kitting BOM | IM1L2 Assembly Traveler | 0754 | IM1L2 Folder | IM1L2 - LDVC0003999 - 0754
TM1L2 | LDVC0004000 | TM1L2 Kitting BOM | TM1L2 Assembly Traveler | 0745 | TM1L2 Folder | TM1L2 - LDVC0004000 - 0745
PF2L2 | LDVC0004001 | PF2L2 Kitting BOM | PF2L2 Assembly Traveler | 0743 | PF2L2 Folder | PF2L2 - LDVC0004001 - 0743
PF2L0 | LDVC0004002 | PF2L0 Kitting BOM | PF2L0 Assembly Traveler | 0749 | PF2L0 Folder | PF2L0 - LDVC0004002 - 0749
PF1L2 | LDVC0004003 | PF1L2 Kitting BOM | PF1L2 Assembly Traveler | 1178 | PF1L2 Folder | PF1L2 - LDVC0004003 - 1178
SF1L2 | LDVC0004004 | SF1L2 Kitting BOM | SF1L2 Assembly Traveler | 1179 | SF1L2 Folder | SF1L2 - LDVC0004004 - 1179
AL1L0 | LDVC0004005 | AL1L0 Kitting BOM | AL1L0 Assembly Traveler | 1196 | AL1L0 Folder | AL1L0 - LDVC0004005 - 1196
Kitting Assembly and Installation Tasks attached to this W/O | Kitting and Assembly Tasks attached to this W/O